## Slide 1: Sequence QC

## Slide 2: Sequence QC
Basic checks before you run your analysis will save time later!
Common issues to look for:
  Poor quality reads
  Adapter contamination
  GC bias
https://sequencing.qcfail.com/

## Slide 3: FastQC
Performs basic quality checks fast
Gives easily readable output
Good for picking up problems but don’t get too worried by the output!

## Slide 4: Sequence problems
Adaptor read-through
When reads are longer than the insert size
MiSeq will trim this automatically

## Slide 6: Sequence problems
Adaptor dimer
When you ligate adapters together with no input sequence!

## Slide 7
Notes: May also shift the GC if there are enough

## Slide 8: Sequence problems
Nextera transposase signature
Due to sequence preference of the Tn5 transposon
Unavoidable in Nextera sequencing

## Slide 10: GC bias
Regions of high and low GC in the genome may be underrepresented in sequencing
By looking at the number of reads mapped to the different regions of the genome, we can determine the level of GC bias

## Slide 11: MultiQC
Takes the results of multiple different QC programs and produces an interactive report
(MultiQC demo)